|  |  |  |  |
| --- | --- | --- | --- |
| **Block** | **Room** | **Primary** | **Secondary** |
| **BA** | 01 009Connor Lecture Theatre | Leave the lecture theatre at main entrance using the left hand automated door, proceed directly into protected staircase enclosure. Call campus security for assistance on 02890267251 | Leave lecture theatre by left side door near podium. Remain in lobby adjacent to staircase enclosure. Call campus security on 02890267251 for assistance. |
| **BA** | 02 001 | Turn right out of room, proceed to corridor junction. Turn left then sharp right into lift lobby. Call security desk on 02890267251) for assistance.  | Turn left out of room, proceed along corridor into Block BB. Continue through library and turn right at the issue desk into staircase enclosure. Call security desk on 02890267251) for assistance.  |
| **BA** | 02 002 | Turn right out of room, proceed to corridor junction. Turn left then sharp right into lift lobby. Call security desk on 02890267251) for assistance.  | Turn left out of room, proceed along corridor into Block BB. Continue through library and turn right at the issue desk into staircase enclosure. Call security desk on 02890267251) for assistance.  |
| BA | 02 005 | Leave room turning left and then immediately right into protected lift lobby to designated refuge area in protected lift lobby (at service lift) call security desk using intercom for assistance. | Alternatively, leave room turning right to the end of escape corridor, turn left and enter through door BA 02 A2 002 into lobby to staircase 1. Call security desk on 02890267251) for assistance.  |
| BA | 02 212? | Leave the room turning right to the end of escape corridor, turning right as indicated by directional signage and proceed to designated refuge point in protected lift lobby (at service lift) call security desk using intercom for assistance | Leave the room turning left, proceed along escape corridor to directional signage indicating left turn into protected staircase No3 to stairwell landing, use intercom at refuge point to call campus security for assistance. |
| **BA** | 03 008Studio | Exit room and proceed straight ahead. Turn right, go past lift, and enter staircase enclosure on left. Call campus security on 02890267251 for assistance. | Turn left out of room, continue on then turn left and proceed straight ahead through door into staircase enclosure. Call campus security on 02890267251 for assistance or use communication system. |
| **BA** | 03 009 | Exit room, turn right and turn left and the corner, proceed straight ahead. Turn right, go past lift, and enter staircase enclosure on left. Call campus security on 02890267251 for assistance. | Turn left out of room, then turn left again and proceed straight ahead through door into staircase enclosure. Call campus security on 02890267251 for assistance or use communication system. |
| BA | 03 021 | Leave room turning right and proceed to protected stairwell on left as indicated by directional signage, enter through door and use refuge point intercom to contact campus security desk for assistance. | Leave room turning left and proceed to the end of to lift area, proceed through door leading to Lift 1 protected lobby and call campus security on 02890267251 for assistance. |
| BA | 03 023 | Leave room turning left and proceed to the end of to lift area, proceed through door leading to Lift 1 protected lobby and call campus security on 02890267251 using mobile phone for assistance. | Leave room turning right and proceed to protected stairwell on left as indicated by directional signage, enter through door and use refuge point intercom to contact campus security desk for assistance. |
|  |  |  |  |
| BA  | 03 024Mac Lab | Turn left out of room, proceed past lift and enter staircase enclosure on left. Call campus security on 02890267251 for assistance. | Turn right out of room, proceed along corridor and enter staircase enclosure on left. Call campus security on 02890267251 for assistance. |
| **BA** | 03 026PC Lab | Turn left out of room, turn right, go past lift, enter staircase enclosure on left. Call campus security on 02890267251 for assistance. | Turn right out of room, turn right at end, continue on then turn left into staircase enclosure. Call campus security on 02890267251 for assistance or use communication system. |
| BB | LD004Ground floor library | Leave room by entrance door. Proceed along short corridor and turn left through staircase enclosure and exit to outside. Proceed to assembly point at Buoy Park | Proceed through far door into room 005. Turn right then left. Exit door is on your right. Go through staircase enclosure and exit to outside. Proceed to assembly point at Buoy Park |
| BB | LD005Ground floor library | Proceed to exit door (from entrance door turn right then left). Go through staircase enclosure and exit to outside. Proceed to assembly point at Buoy Park | Go back through entrance door into room 004. Proceed to far end and go through double doors. Continue along short corridor and turn left through staircase enclosure and exit to outside. Proceed to assembly point at Buoy Park |
| BB | LD010DVD/VideoRoom | Turn left out of room. Proceed through main entrance door entrance door. Proceed along short corridor and turn left into staircase enclosure. Call campus security on 0289026725 for assistance or use communication system. | Turn right out of room. Proceed away from entrance door to far right hand corner. Enter staircase enclosure. Call campus security on 0289026725 for assistance or use communication system. |
| BB | LD012First floor library | Leave room by entrance door. Proceed along short corridor and turn left into staircase enclosure. Call campus security on 0289026725 for assistance or use communication system. | Proceed away from entrance door to far right hand corner. Enter staircase enclosure. Call campus security on 0289026725 for assistance or use communication system. |
| BB | LD013Main Library | Enter staircase enclosure opposite the issue desk (door marked with exit sign). Call campus security on 0289026725 for assistance or use communication system. | Go through double into block BA. Proceed along corridor to the end. Go through doors, head slightly right and enter staircase enclosure.Call campus security on 0289026725 for assistance. |
| BB | LD017Quiet Computing | Leave room and turn left. Proceed along corridor, and go through double doors. Go straight ahead and turn left at the exit sign. Enter staircase enclosure and call campus security on 0289026725 for assistance or use communication system. | Leave room and turn right, go through double doors into adjacent computer room. Head right, enter staircase enclosure (door marked with exit sign). Call campus security on 0289026725 for assistance or use communication system.  |
| BB | LD01924hr Computing | Enter staircase enclosure (door marked with exit sign). Call campus security on 0289026725 for assistance or use communication system. | Leave room by entrance door. Proceed along corridor, and go through double doors. Go straight ahead and turn left at the exit sign. Enter staircase enclosure and call campus security on 0289026725 for assistance or use communication system. |
| BB | 03 001Student Hub | Go through double doors (away from block BA) along corridor and turn right into staircase enclosure. Call campus security on 0289026725 for assistance or use communication system. | Go through double doors into block BA. Proceed along corridor to the end. Go through doors, head slightly right and enter staircase enclosure.Call campus security on 0289026725 for assistance. |
| BB | 04 001Student Hub | Go through double doors (away from block BA) along corridor and turn right into staircase enclosure. Call campus security on 0289026725 for assistance or use communication system.  | Go through double doors into block BA. Proceed along corridor to the end. Go through doors, head slightly left and enter staircase enclosure.Call campus security on 0289026725 for assistance. |
| **BA** | **B** | When the fire alarm is activated and circumstances permit, **make your way to the protected lift lobby located in the protected stairwell** and call campus security for assistance on 02895367251. **DO NOT WAIT AT THE GLASS LIFT**This lift will be reactivated by security staff who will use it to bring you to a ground floor level to exit the building.There is an intercom on each floor accessed by the lift for the security staff to communicate their intentions | Alternatively, if you cannot make your way to the lift lobby, follow directional signage and go into any protected stairwell to remain at the designated refuge points located within each stairwell level and call campus security for assistance on 02895367251.Some refuge points have communication intercoms, if so, use this to communicate with the security desk |
|  |  |  |  |
| **BA** | **E** | When the fire alarm is activated and circumstances permit, **make your way to the protected lift lobby located in the protected stairwell** and call campus security for assistance on 02895367251.**DO NOT WAIT AT THE GLASS LIFT**This lift will be reactivated by security staff who will use it to bring you to a ground floor level to exit the building.There is an intercom on each floor accessed by the lift for the security staff to communicate their intentions | Alternatively, if you cannot make your way to the lift lobby, follow directional signage and go into any protected stairwell to remain at the designated refuge points located within each stairwell level and call campus security for assistance on 02895367251.Some refuge points have communication intercoms, if so, use this to communicate with the security desk |
|  |  |  |  |